Methods description for particulate and non-pigmented particulate absorption

Prepared by Xiaoju Pan & Antonio Mannino – December 15, 2008

Absorption coefficients of particles (ap) and non-pigmented particles (ad) were determined by the quantitative “filter pad” method following the recommendations of Mitchell et al. [2002]. Particulate samples were collected on 25 mm pre-combusted (6 hours at 450°C) GF/F filters under a gentle vacuum (<5 in Hg) and stored in liquid nitrogen in the field before transfer to a -80°C freezer in the laboratory. Non-pigmented particulate samples were defined as the detritus component of particulate samples after two cold methanol extractions (first 5 ml for 10 minutes, then 10 ml for 1 hour) [Kishino et al., 1985].

Absorbance spectra were measured using a double-beam Cary 100 Bio Ultraviolet-Visible scanning spectrophotometer through 300-800 nm in 1 nm intervals. Blank GF/F filters hydrated with 0.2 μm pre-filtered artificial seawater were used as the blank. Null correction was made by subtracting the mean of absorbance at 790 to 800 nm for each spectrum. The multiple-scattering effect for calculating particulate absorption coefficient (ap) and non-pigmented particulate absorption coefficient (ad) was corrected following the method of Mitchell [1990], from which non-pigmented particulate samples were assumed to have the same multiple-scattering amplification factor to total particulate samples [Mitchell et al., 2002]. Phytoplankton absorption coefficient (aph) can be calculated as aph = ap - ad.

References

Kishino, M., N. Takahashi, N. Okami, and S. Ichimura (1985), Estimation of the spectral absorption coefficient of phytoplankton in the sea, Bull. Mar. Sci., 37, 634-642.

Mitchell, B.G. (1990), Algorithms for determining the absorption coefficient of aquatic particulates using the quantitative filter technique (QFT), Ocean Optics X, 137-148.

Mitchell, B.G., M. Kahru, J. Wieland, and M. Stramska (2002), Determination of spectral absorption coefficients of particles, dissolved material and phytoplankton for discrete water samples, in Ocean optics protocols for satellite ocean color sensor validation, Revision 3, Vol. 2, edited by J.L. Mueller and G.S. Fargion, pp. 231-257, NASA Goddard Space Flight Center, Greenbelt, Maryland.